DOCUMENTATION FOR THE HYDRO PLANT PROBLEM PROGRAM

The program HYDRO.PAS contains a dynamic programming algorithm to solve

problem 7.4 in chapter 7 of the text. You are allowed to change much of the

problem data to see the result on the solution ( see sample run below ).

HYDRO.EXE contains the executable file.

In addition, two other files on the disk allow an approximate solution of

problem 7.4 using linear programming. File PR74A.DAT contains the LP data for

this problem with the steam and hydro plant characteristics represented by

linear functions. File PR74B.DAT contains LP data for this problem with the

steam plant characteristic represented by a two segment linear approximation.

To run these files you must use the DUBLP program explained in DUBLP.DOC.

To run the full dynamic programming algorithm the user enters HYDRO

Sample output of this program appears below:

Do you want output on printer: Y <-- User selects printer output

You may now make changes to the data for the problem

Menu of options:

1 - Display data

2 - Enter new steam plant min MW

3 - Enter new steam plant max MW

4 - Enter new reservoir infow rate (AF/HR)

5 - Enter new reservoir max volume (AF)

6 - Enter new reservoir min vilume (AF)

7 - Enter new volume step to use in algorithm

8 - Enter new starting reservoir volume (AF)

9 - Enter new ending reservoir volume (AF)

10 - Run program

Enter option number >1  <---User entered 1 to display data

Steam plant maximum MW    =      1200.00

Steam plant minimum MW    =       200.00

Reservoir inflow          =      1000.00

Reservoir maximum volume  =     18000.00

Reservoir minimum volume  =      6000.00

Volume step size          =      1000.00

Reservoir starting volume =     10000.00

Reservoir ending volume   =     10000.00

Menu of options:

1 - Display data

2 - Enter new steam plant min MW

3 - Enter new steam plant max MW

4 - Enter new reservoir infow rate (AF/HR)

5 - Enter new reservoir max volume (AF)

6 - Enter new reservoir min vilume (AF)

7 - Enter new volume step to use in algorithm

8 - Enter new starting reservoir volume (AF)

9 - Enter new ending reservoir volume (AF)

10 - Run program

Enter option number > 7  <---User entered 7 to enter a new volume step size.

Current value of volume step size =      1000.00

Enter new value : 2000.  <---User enters 2000. as new step size.

Menu of options:

1 - Display data

2 - Enter new steam plant min MW

3 - Enter new steam plant max MW

4 - Enter new reservoir infow rate (AF/HR)

5 - Enter new reservoir max volume (AF)

6 - Enter new reservoir min vilume (AF)

7 - Enter new volume step to use in algorithm

8 - Enter new starting reservoir volume (AF)

9 - Enter new ending reservoir volume (AF)

10 - Run program

Enter option number > 8  <---User enters 8 to enter new starting volume.

Current value of reservoir starting volume =     10000.00

Enter new value : 14000.  <---New starting volume set to 14000.

Menu of options:

1 - Display data

2 - Enter new steam plant min MW

3 - Enter new steam plant max MW

4 - Enter new reservoir infow rate (AF/HR)

5 - Enter new reservoir max volume (AF)

6 - Enter new reservoir min vilume (AF)

7 - Enter new volume step to use in algorithm

8 - Enter new starting reservoir volume (AF)

9 - Enter new ending reservoir volume (AF)

10 - Run program

Enter option number > 10   <---User runs program

Steam plant maximum MW    =      1200.00

Steam plant minimum MW    =       200.00

Reservoir inflow          =      1000.00

Reservoir maximum volume  =     18000.00

Reservoir minimum volume  =      6000.00

Volume step size          =      2000.00

Reservoir starting volume =     14000.00

Reservoir ending volume   =     10000.00

Now doing period 2

Now doing period 3

Now doing period 4

Now doing period 5

Now doing period 6

PERIOD 1

LOAD =          600.00  <-- Load in MW

STEAM GENERATION =          600.00  <-- Steam generation in MW

HYDRO GENERATION =            0.00  <-- Hydro generation in MW

Q =            0.00  <-- Hydro discharge in AF/HR

RESERVOIR VOLUME =        18000.00  <-- Reservoir volume at beginning

of period 1

PERIOD 2

LOAD =         1000.00

STEAM GENERATION =          814.89

HYDRO GENERATION =          185.11

Q =         2000.00

RESERVOIR VOLUME =        14000.00

PERIOD 3

LOAD =          900.00

STEAM GENERATION =          722.45

HYDRO GENERATION =          177.55

Q =         2000.00

RESERVOIR VOLUME =        10000.00

PERIOD 4

LOAD =          500.00

STEAM GENERATION =          500.00

HYDRO GENERATION =            0.00

Q =            0.00

RESERVOIR VOLUME =        14000.00

PERIOD 5

LOAD =          400.00

STEAM GENERATION =          222.45

HYDRO GENERATION =          177.55

Q =         2000.00

RESERVOIR VOLUME =        10000.00

PERIOD 6

LOAD =          300.00

STEAM GENERATION =          226.00

HYDRO GENERATION =           74.00

Q =         1000.00

RESERVOIR VOLUME =        10000.00

TOTAL PRODUCTION COST FOR SCHEDULE =        87824.31  <---Total production

cost on steam plant.