DOCUMENTATION FOR THE ECONOMIC DISPATCH PROGRAM EDC.BSF

The economic dispatch program allows a student to experiment with two commonly

used economic dispatch solution algorithms using three different generating

unit heat rate or incremental heat rate curve representations.

The user specifies the unit heat rate or incremental heat rate, fuel cost, and

operating limits for each unit on a data file. If fixed bus penalty factors or

a loss matrix are to be used they are also entered on the file. The user is

then allowed the option of trying two different solution algorithms and can

enter different total load or generation MW values. Diagnostic output of the

solution process is also available as an option.

***FILES

EDC.DOC   This file

EDC.PAS   PASCAL Source file

EDC.EXE   PASCAL Executable program file

EDC1.DAT  Polynomial curves, three units, no loss test case

EDC2.DAT  Piecewize incremental heat rate curves, three units, no loss test case

EDC3.DAT  Piecewize heat rate, three units, no loss test case

EDC4.DAT  Polynomial curves, three units, constant penalty factors test case

EDC5.DAT  Polynomial curves, three units, loss formula case

EX3A.DAT  Data for example 3A in chapter 3 of text

EX3B.DAT  Data for example 3B in chapter 3 of text

EX3C.DAT  Data for example 3C in chapter 3 of text

EX3D.DAT  Data for example 3D in chapter 3 of text

PR32 .DAT  Data for problem 3.2 in text

PR33.DAT  Data for problem 3.3 in text

PR38.DAT  Data for problem 3.8 in text

PR43A.DAT Data for problem 4.3 part A in text

PR43B.DAT Data for problem 4.3 part B in text

***GENERATING UNIT DATA

The generating unit heat rate or incremental heat rate data is stored on the

input data file. Three curve types may be used as explained below. All

generating units must have the same type and the same curve order.

POLY: Stands for polynomial curve representation of the heat rate

function. That is, the curve represents the function:

H(P) = A + B*P + C*P**2 + D*P**3 + ...

The input file must contain the order for this polynomial. If the order

is set to 2 the file must specify coefficients A,B, and C. If order is

set to 3 the file must specify A,B,C and D. Etc.

PINC: Stands for piecewize incremental heat rate curve. The curve is

represented by a series of points connected by straight line segments.

The number of segments in the curve is determined by the order parameter.

Each point requires a MW value and an incremental heat rate value.

The input file then must contain points such as the table below:

MW | Inc. Heat Rate

-----------------------

P1  |  IHR1

P2  |  IHR2

P3  |  IHR3

This example has an order of 2 since the three points specify

two segments.

The user is cautioned that the first point's MW value ought to be equal

to the unit low limit and the last MW point equal to the unit high limit.

In addition:

P(I) < P(I+1)

IHR(I) < IHR(I+1)

for all points in the curve.

PIO:  Stands for piecewize Input/Output curve. Here the unit's heat rate curve

is represented as a series of points connected by straight line segments.

The number of segments in the curve is determined by the order parameter.

Each point requires a MW value and a heat rate value.

The input file then must contain points such as the table below:

MW | Inc. Heat Rate

-----------------------

P1  |  HR1

P2  |  HR2

P3  |  HR3

P4  |  HR4

This example has an order of 3 since the four points specify

three segments.

The user is cautioned that the first point's MW value ought to be equal

to the unit low limit and the last MW point equal to the unit high limit.

In addition:

P(I) < P(I+1)

HR(I) < HR(I+1)

for all points in the curve.

***LOSS REPRESENTATION

Network losses may ignored, may be represented by fixed penalty factors or

by a loss matrix ( B Matrix ). The format for entering the loss representation

type and values is given in the next section on file format.

***INPUT DATA FILE FORMAT

The format for the input data file is as follows:

The first two lines are file labels and may be any character string up to 80

characters long.

The third line contains four parameters. They are:

FIRST PARAMETER = The number of generating units represented

SECOND PARAMETER= The type of curve used to represent the unit. This parameter

is limited to three different character string values

of POLY or PINC or PIO as explained above.

THIRD PARAMETER = Contains an integer of 1 to 10 giving order of the curve as

explained above.

FOURTH PARAMETER= The loss representation. This parameter is limited to three

different character string values of NOLOSS or CONSTPF or

LOSSFORM denoting noloss, constant penalty factors and loss

matrix respectively.

Next comes the unit data. Each unit has one line of data giving the unit's

name (an alphanumeric string up to 9 characters), its low MW limit, its high

MW limit and its fuel cost. Each variable is separated by a space. Next each

polynomial curve coefficient or each piecewize curve breakpoint is given with

each value on a separate line.

The sample below is for the file EX3A.DAT on your disk. The arrow <---- will

be used together with lower case text to show comments only ( nothing to the

right of the arrow nor the arrow itself is actually on the file).

Example:

FILE EX3A.DAT -------- DATA FOR EXAMPLE 3A IN TEXT <---- 1st header line

-------------------------------------------------- <---- 2nd header line

3  POLY  2  NOLOSS <---- number of units, curve type, curve order, loss type

UNIT1  150.0  600.0 1.1 <----start of first unit's data

510.0    <---- A coefficient for polynomial for first unit

7.2      <---- B coefficient

0.00142  <---- C coefficient

UNIT2  100.0 400.0 1.0 <---- Start of second unit's data

310.0

7.85

0.00194

UNIT3  50.0 200.0 1.0 <---- Start of third unit's data

78.0

7.97

0.00482

The next example shows unit data having a piecewize heat rate curve with five

segments is represented on the input file.

FILE EDC3.DAT ------ PIECEWIZE INPUT/OUTPUT CURVES, NO LOSSES

-------------------------------------------------------------

3  PIO  5  NOLOSS

UNIT1  100.0 200.0  1.0

100.0  10200.0 <---- MW and heat rate point values

120.0  14620.0

140.0  19840.0

160.0  25860.0

180.0  32680.0

200.0  40300.0

UNIT2  50.0  300.0  1.0

50.0  10000.0

100.0  15000.0

150.0  22500.0

200.0  32500.0

250.0  45000.0

300.0  60000.0

UNIT3  200.0  700.0  1.0

200.0  10000.0

300.0  15000.0

400.0  21000.0

500.0  28000.0

600.0  36000.0

700.0  45000.0

The next example shows how to input constant penalty factors into the data

file. This is a copy of file EDC4.data on your disk:

FILE EDC4.DAT ------ POLYNOMIAL CURVES, CONSTANT PENALTY FACTORS

----------------------------------------------------------------

3  POLY  2  CONSTPF

UNIT1  100.0 200.0 1.0

100.0

1.0

1.0

UNIT2  50.0  150.0  1.0

100.0

1.0

1.0

UNIT3  200.0  450.0  1.0

10.0

1.0

1.0            <---- Last line of unit 3 data

1.0  1.2  1.0 <---- Penalty factors listed in order of units.( Unit 1 penalty

factor = 1.0, unit 2 penalty factor = 1.2, etc.)

Finally the next example shows how to enter a lossformula with the unit

data.This is a copy of EDC5.dat on your disk:

FILE EDC5.DAT ------ POLYNOMIAL CURVES, B MATRIX LOSS FORMULA

-------------------------------------------------------------

3  POLY  2  LOSSFORM

UNIT1  100.0  200.0  1.0

100.0

1.0

1.0

UNIT2  50.0  150.0  1.0

100.0

1.0

1.0

UNIT3  200.0  450.0  1.0

10.0

1.0

1.0                <---- Last line of unit 3 data

0.005              <---- B00 coefficient

0.005 0.005 0.01   <---- B1, B2, B3 coefficients

0.01  0.005 0.005  <---- B11, B12, B13

0.005 0.01  0.005  <---- B21, B22, B23

0.005 0.005 0.02   <---- B31, B32, B33

Note that the Loss formula coefficients are entered as follows: The first line

contains the B00 coefficient, The second contains the B(I) coefficients for

I = 1 to the number of generators, the matrix portion of the formula is stored

row by row. There will be as many rows as there are units.

***USER OPTIONS

When a data file is complete the user runs the EDC program by entering

EDC and then hitting enter.

First the program asks if the user wants to display the program output

on the printer or the CRT.

The program then prompts for the data file to be read. The user should enter

the file name followed by the ENTER key. ( NOTE all entries into the program

assume the user enters a number or letter(s) followed by ENTER).

The solution method allows the user to select either lambda search or table

lookup. Note that lambda search is appropriate for polynomial or piecewize

incremental heat rate curves and table look up should be used for piecewize

heat rate curves.

Diagnostic printout can be obtained by answering Y or y to the next question

and will show the results of the lambda search.

The schedule type allows the program to match total generation to a fixed

total generation value ( option 1 ) or matches the total generation to the

load plus losses ( option 2 ).

If option 1 is selected the user is prompted for the MW total generation to

use.

If option 2 is selected the user enters the total load. If the loss

formula is used the program calculates the losses and adds it to the

load MW as the target total generation.

The program then prints the file header followed by a printout of the unit and

loss formula data. After the solution is complete the program prints out

a summary of the generation. The user is asked if another run of EDC is

desired and can enter Y or N to continue or not. If Y is entered, the

user can opt to read a new data file or use the one previously read.

***PROGRAM MAXIMUM DIMENSIONS

Maximum number of generator units = 20

Maximum number of points on piecewize linear curve segments = 10

Maximum number of polynomial coefficients = 10

***SAMPLE PROGRAM EXECUTION

edc <---- user starts program

Do you want output on the printer? (y or n)  y <---- user asks for printer

enter name of input file? ex3a.dat <---- user enters file name

please enter solution method :

1 = lambda search

2 = table lookup ( pio curves only )

enter 1,or 2 : ? 1                        <---- user enters solution option

do you want diagnostic printout ? (y/n) : ? y <---- user selects diagnostics

please enter schedule type

1 = total generation ( mw )

2 = total load ( mw )

enter schedule type ? 1                   <---- user selects schedule type

enter total generation ( mw ) :? 850.     <---- user selects total MW

The output below appears on either the crt or the printer

FILE EX3A.DAT -------- DATA FOR EXAMPLE 3A IN TEXT <--start of data printout

--------------------------------------------------

number of generator units =  3

unit curve type = poly

curve order =  2

network loss representation = noloss

UNIT1 limits =  150   600  fuelcost =  1.1

curve coefficients

510.0000

7.2000

0.0014

UNIT2 limits =  100   400  fuelcost =  1

curve coefficients

310.0000

7.8500

0.0019

UNIT3 limits =  50   200  fuelcost =  1

curve coefficients

78.0000

7.9700

0.0048

using lambda search

total generation schedule =         850.0

losses negnected

lambda limits =  8.238     9.898          <---- start of diagnostic output

lambdastart deltalambda =  9.068         .83

targetgen =  850

lambda =  9.068             totalgen =  795.2956 <---- iteration on lambda

lambda =  9.898             totalgen =  1200

lambda =  9.483             totalgen =  1057.27

lambda =  9.275499          totalgen =  936.7207

lambda =  9.171749          totalgen =  866.0078

lambda =  9.119874          totalgen =  830.6513

lambda =  9.145811          totalgen =  848.3291

lambda =  9.15878           totalgen =  857.1684

lambda =  9.152296          totalgen =  852.749

lambda =  9.149054          totalgen =  850.539

lambda =  9.147432          totalgen =  849.4342

lambda =  9.148243          totalgen =  849.9868

generator  output   limit  inc cost penalty fact  operating cost <---- output

mw             $/mwhr                   $/hr

---------  ------   -----  -------- ------------  --------------

unit1       393.2             9.148   1.000           3916.31

unit2       334.6             9.148   1.000           3153.80

unit3       122.2             9.148   1.000           1124.13

---------  ------                                 --------------

totals     850.0                                     8194.24

lambda =  9.14824

do you want to run edc again? (y or N) : ? n <---- user does not reexecute